## Minor
Category | Sub-Category | Minor group | Descriptions
Assemblies | Ceiling | SUSP | Suspended Elements
Assemblies | Ceiling | TEES | Main Tees
Assembly | General | FNSH | Finishes
Assembly | General | FRMG | Framing
Assembly | Roof | PRPT | Parapet
Assembly | Wall | MSNW | Masonry
Component | Architectural | EXPJ | Expansion Joint
Component | Architectural | EXPN | Expansion Type
Component | Architectural | FASC | Fascia
Component | Architectural | FLDR | Floor Drain
Component | Architectural | GLAZ | Glazing
Component | Architectural | GRAL | Guard Rail
Component | Architectural | RISR | Riser
Component | Architectural | STRS | Stair Treads
Component | Architectural | THLD | Thresholds
Component | Fire Protection | EXTI | Extinguishers
Component | Fire Protection | SPKL | Sprinklers
Component | Furnishing | WKSF | Worksurface
Component | General | ABLT | Anchor Bolts
Component | General | FIXT | Fixtures
Component | General | FRAM | Frame
Component | General | STEP | Step
Component |  | FISH | Fish Ladder / Passage
Component |  | FITT | Fitting
Component |  | FLPL | Flagpole
Contextual |  | VHCK | Vehicles
Descriptive | Condition | EXPO | Exposed
Descriptive | Condition | FIXD | Fixed
Descriptive | Condition | FLEX | Flexible Duct/Pipe/Connections
Descriptive | Condition | FLSH | Flush
Descriptive | Type | FLUO | Fluorescent
Descriptive |  | FACE | Face
Descriptive |  | FIRE | Fire protections
Descriptive |  | FLLW | Flow
Descriptive |  | RLIF | Relief
Equipement | Electric | PNDT | Pendant Type Lights
Equipement | Mecanical | DIFF | Diffuser
Equipement | Plumbing | TLT~ | Toilets
Equipment | Audio Video | SPKR | Speakers
Equipment | Plumbing | TUBS | Bathtubs
Equipment |  | BOIL | Boiler
Equipment |  | EFAN | Equipement with electric fan
Equipment |  | ELC~ | Electric Coil
Equipment |  | ELHT | Electric Heat
Equipment |  | EQPM | Equipment Doors
Equipment |  | EV~~ | Equipment Vacuum-System
Equipment |  | EXHS | Exhaust Air
Equipment |  | FAN~ | Fan
Equipment |  | FAUC | Faucet
Equipment |  | FCU~ | Fan Coil Unit
Equipment |  | FLOD | Flood Lights
Equipment |  | FNTN | Fountain
General | Annotation | BRKL | Break line
General | Annotation | DIMS | Dimensions
General | Annotation | FALT | Fault / Break lines
General | Annotation | LVEL | Level
General | Annotation | SPOT | Spot Elevations
General | Annotation | SURF | Surface Area
General | Annotation | SYMB | Reference Symbols
General | Annotation | TABL | Data Tables
General | Annotation | TAGS | Circuit/Equipement Tags
General | Annotation | TEXT | Text
General | Annotation | TICK | Tick Marks
General | Annotation | TITL | Drawing or Detail Titles
General | Annotation | XFER | External Reference
General | Assemblies | FLOR | Floor
General | Assemblies | FNDN | Foundation
General | Assemblies | WALL | Wall
General | Color | BLCK | Black
General | Color | GREY | Grey
General | Descriptive | GAGE | Gauge
General | Descriptive | MBND | Material Beyond Cut
General | Descriptive | MCUT | Material Cut By The View
General | Descriptive | MISC | Miscellaneous
General | Descriptive | MOVE | Movable
General | Descriptive | OPNG | Openings
General | Descriptive | OTLN | Outline
General | Descriptive | PANL | Panels
General | Line | MATC | Match Lines
General | Line | PHN2 | Phantom 2 Line
General | Line | XX~~ | XX Wide Lines
General | Line | XXX~ | XXX Wide Lines
General | Line | XXXX | XXXX Wide Lines
General | Lines | BLIN | Baseline
General | Lines | BNDY | Boundary
General | Lines | BOLD | Bold Line
General | Lines | CNT2 | Centerline 2
General | Lines | CNTR | Centerline
General | Lines | DAS2 | Dashed 2 lines
General | Lines | DASH | Dashed lines
General | Lines | DSH2 | Dash 2 Lines
General | Lines | DSHD | Dash Lines
General | Lines | FINE | Fine lines
General | Lines | FLOW | Flowline
General | Lines | THIN | Thin Lines
General | Lines | TRAC | Track Lines
General | Lines | UTIL | Utility Lines
General | Lines | X~~~ | X Wide Lines
General | Placement | ABUT | Above
General | Placement | BACK | Back
General | Placement | BLOW | Below
General | Placement | BOT1 | Bottom group 1
General | Placement | BOT2 | Bottom group 2
General | Placement | BOTM | Bottom
General | Placement | EXTR | Exterior
General | Placement | FRNT | Front
General | Placement | OVHD | Overhead
General | Placement | TOP~ | Top
General | Placement | UNDR | Under
General | Placement | UPPR | Upper
General | Shape | OVAL | Oval
General |  | 0001 | Number 0001; class 1
General |  | 0002 | Number 0002
General |  | 0003 | Number 0003
General |  | 0004 | Number 0004
General |  | 0005 | Number 0005
General |  | 0006 | Number 0006
General |  | 0007 | Number 0007
General |  | 0008 | Number 0008
General |  | 0009 | Number 0009
General |  | 0010 | Number 0010; class 10
General |  | 0024 | Half scale
General |  | 0048 | Quarter scale
General |  | 0096 | Eighth scale
General |  | 0192 | Sixteenth scale
General |  | 01FT | One foot high (12 inches)
General |  | 01HR | 1-Hour fire rating
General |  | 02FT | Two feet high (24 inches)
General |  | 02HR | 2-Hour fire rating
General |  | 03FT | Three feet high (36 inches)
General |  | 03HR | 3-Hour fire rating
General |  | 03IN | One quarter foot high (3 inches)
General |  | 04FT | Four feet high
General |  | 04HR | 4-Hour fire rating
General |  | 04IN | One-third foot high (4 inches)
General |  | 05FT | Five feet high (60 inches)
General |  | 06IN | Half foot high (6 inches)
General |  | 07FT | Seven feet high (84 inches)
General |  | 08FT | Eight feet high (96 inches)
General |  | 08IN | Two-third foot high (8 inches)
General |  | 09FT | Nine feet high (108 inches)
General |  | 09IN | Three -quarter foot high (9 inches)
General |  | 10FT | Ten feet high (120 inches)
General |  | 10IN | Ten inches high
General |  | GENF | General features
General |  | GENR | General
General |  | OTHR | Other
General |  | PATT | Texture or Hatch Patterns
General |  | TOTL | Total
General |  | UNIT | Unit
Graphic |  | PEPL | People
Material | Compound | CMNT | Cement
Material | Compound | CONC | Concrete
Material | Fabric | FABR | Fabric
Material | Masonry | BRCK | Brick
Material | Masonry | CMUW | Concrete masonry units
Material | Masonry | PAVR | Unit Pavers
Material | Metal | ALUM | Aluminum
Material | Metal | BRSS | Brass
Material | Metal | CAST | Cast iron
Material | Metal | CMTL | Corrugated metal
Material | Metal | COPR | Copper
Material | Metal | SSTL | Stainless Steel
Material | Metal | STEL | STEEL
Material | Paving | ASPH | Asphalt
Material | Wood | PLYW | Plywood
Material | Wood | VENR | Veneer
Material | Wood | WOOD | Wood
Material |  | MTRL | Material
Sitework | Landscape | FENC | Fences
Sitework | Landscape | SWKL | Sidewalks
Sitework | Landscape | TREE | Trees
Sitework | Landscape | WALK | Sidewalks
Sitework | Marking | WHIT | White Paint
Sitework | Marking | YELO | Yellow Paint
Sitework | Planting | EDGR | Planting Bed Edger
Sitework | Planting | PLNT | Plants
Sitework | Planting | TROW | Tree Row
Sitework |  | ERTH | Earth
Sitework |  | GCVR | Ground Cover
Sitework |  | GNDW | Ground Water
Sitework |  | LSCP | Landscape
Sitework |  | MRKG | Pavement Markings
Sitework |  | TOP1 | Top Ground 1
Sitework |  | TOP2 | Top Ground 2
Sitework |  | TOPB | Top Of Bank
Speciality | Entertainment | SPRT | Sport Field
Status |  | EXST | Existing
View |  | DETL | Detail
View |  | ELEV | Elevation Attributes for survey points
View |  | REFL | Reflected Plans
|  | ABOV | Abutment
|  | ACCS | Access
|  | AFF~ | Above finished floor
|  | AGGR | Exposed aggregate
|  | AIR~ | Air
|  | ALOC | Allocation
|  | ANNN | TO BE EDITED (A=Letter; N=Number)
|  | ANNO | Annotation
|  | ANTA | Antenna
|  | APPL | Appliances
|  | AR~~ | Argon-system
|  | ARAT | Aeration
|  | ASSM | Assemblies
|  | AUD~ | Audio
|  | AUXL | Auxiliary
|  | AV~~ | Audio Video
|  | BA~~ | Breathable Air-system
|  | BARR | Barrier
|  | BATH | Bath
|  | BATT | Batting
|  | BELL | Bell
|  | BIDT | Bidet
|  | BKRS | Breakers
|  | BKUP | Back-up
|  | BLDG | Building points
|  | BLO~ | Blower
|  | BRCG | Bracing
|  | BRCH | Fire sprinckler branch
|  | BRDG | Bridge
|  | BRDR | Border
|  | BRGX | Bridging
|  | BRNG | Bearing and distance label
|  | BT~~ | Bath tub
|  | BUBL | Bubbles
|  | BUSH | Bushes and shrubs
|  | BUSW | Busway
|  | CABL | Cable
|  | CABN | Cabinet
|  | CARS | Cars and other vehicules
|  | CAVI | Cavity
|  | CDFF | Ceiling Diffuser
|  | CHIM | Cheminey
|  | CIRC | Circuits
|  | CITY | City
|  | CLAS | Classifications
|  | CLAY | Vitreous clay
|  | CLDA | Cold Air
|  | CLHD | Ceiling Heads
|  | CLNC | Clearances
|  | CLNG | Ceiling
|  | CLOK | Clock
|  | CLS1 | Class 1
|  | CLS2 | Class 2
|  | CLS3 | Class 3
|  | CLTH | Clothes
|  | CNCL | Concealed
|  | CNTJ | Construction joint
|  | COLD | Cold
|  | COMM | Communication
|  | CONS | Conservation
|  | CONV | Conveying system
|  | COVR | Coverage
|  | CRIT | Critical
|  | CSTG | Construction / Grading
|  | CSWK | Casework
|  | CTNR | Container or planter
|  | CTRL | Control Joint
|  | CUH~ | Cabinet Unit Heater
|  | CURB | Curbs
|  | CURT | Curtain
|  | CURV | Curve
|  | CWAL | Critical Wall
|  | DAM~ | Dam
|  | DATA | Data
|  | DATE | Date
|  | DBLE | Double Wall
|  | DECK | Deck
|  | DEMO | Demolition lines
|  | DEPR | Depression
|  | DEVC | Devices
|  | DIMR | Dimmer Lighting
|  | DIRT | Dirt
|  | DISH | Dishes
|  | DISP | Display
|  | DOCK | Decks, docks, floats, piers
|  | DOMC | Domestic Cold Water
|  | DOMH | Domestic Hot Water
|  | DOOR | Equipment Doors
|  | DOT2 | Dotted 2 Lines
|  | DOTD | Dotted Lines
|  | DOWN | Down light
|  | DRAN | Drainage slope indications
|  | DRIP | Drip irrigation tubing
|  | DRIV | Driveway Points
|  | DRNK | Drinking fountain
|  | DRNS | Drains
|  | DRY~ | Dry
|  | DRYR | Dryer
|  | DUBL | Double Wall
|  | DUCT | Ductwork
|  | DVDR | Thin Dividers
|  | DWC~ | Domestic Water Chiller/Cold Deck
|  | DWH~ | Domestic Water Heater
|  | EASP | Elevation Attributes for survey points
|  | ECON | Economizer
|  | EDGE | Edge
|  | EG~~ | Ethylene Glycol System
|  | EGRS | Egress
|  | EGW~ | Ethylene Glycol Waste-System
|  | ELEC | Electrical
|  | EMER | Emergency
|  | ESSN | Essential
|  | EVAC | Evacuation Plan
|  | EXIT | Exit
|  | FDTA | Field Data
|  | FEE~ | Fee
|  | FEED | Feeders
|  | FEND | Fender
|  | FEXT | Fire extinguisher
|  | FIBR | Fiber Optics Cable
|  | FILE | File Cabinets
|  | FILL | Fill and Cover Material
|  | FILT | Filter, Filtrate
|  | FLUE | Flue
|  | FLUM | Flume
|  | FOAM | Fire protection Foam Pipe
|  | FREE | Freestanding
|  | FTPT | Area footprints
|  | FUEL | Fuel Line
|  | FULL | Full-Height
|  | FUR~ | Furnace
|  | FURN | Furnishing
|  | GAS~ | Gas
|  | GATE | Gate
|  | GEAR | Gear Actuate
|  | GENS | Generator
|  | GEOT | Geothermal Energy
|  | GGEP | Gas General Piping
|  | GPRP | Gas Process Piping
|  | MFLD | Manifold
|  | MHOL | Manhole
|  | MINR | Minor
|  | MOTR | Motorized
|  | MRKR | Marker
|  | PADS | Pads / Area occupied by building
|  | PALM | Palm Tree
|  | PBRD | Panelboard
|  | PDFS | PDF files
|  | PHNT | Phantom Lines
|  | PHON | Telephone Line
|  | PIPE | Piping
|  | PLAS | Plastic
|  | PLAY | Play Structure
|  | PNLS | System Panels
|  | PNPT | Panel Points
|  | RAIS | Raised
|  | RAMP | Accessible Ramp
|  | RATE | Rating
|  | RECT | Rectangular
|  | REDL | Redlines
|  | REFR | Reference, External Files
|  | REGR | Register
|  | RETN | Return
|  | REVC | Revision Clounds
|  | REVS | Revision Indicator And Text
|  | RFDR | Roof Drain
|  | RFEQ | Rooftop Equipment
|  | RGHT | Right
|  | RNGE | Range
|  | ROAD | Roadway
|  | ROCK | Large Rocks And Rock Outcroppings
|  | ROOF | Roof
|  | ROOM | Rooms
|  | ROUN | Round
|  | ROWS | Row Linework
|  | RTU~ | Rooftop Unit
|  | RTWL | Retaining Wall
|  | RUBR | Rubber
|  | SAFE | Fire Safety
|  | SAND | Sand Filter Type
|  | SEAL | Seal
|  | SEAT | Seating
|  | SECD | Secondary
|  | SECT | Section
|  | SEED | Seeding Areas
|  | SEMI | Semi-Recessed
|  | SEP~ | Separator
|  | SERT | Security
|  | SEWG | Sewage
|  | SFIT | Soffit
SG~~
|  | SHAD | Shadow Area
|  | SHOW | Shower
|  | SHUT | Shut-Off
|  | SIDE | Side
|  | SIGN | Signage
|  | SILL | Window Sill
|  | SILT | Silt Fence
|  | SINK | Sinks
|  | SITE | Key Plan (Site Plan)
|  | SKCH | Sketch
|  | SKLT | Skylight
|  | SLAB | Slab
|  | SLCE | Slice
|  | SLOP | Schematic Slope
|  | SLOT | Linear Slot
|  | SLVE | Pipe Sleeve
|  | SNOW | Snow-Ice Melting System
|  | SNSR | Sensor
|  | SODA | Soda Fountain
|  | SOFT | Soft Water
|  | SOLE | Solenoid Actuated
|  | SOLU | Solution
|  | SOUN | Sounding
|  | SPCE | Space
|  | SPCL | Special / Specialties
|  | SPLN | Spline Ceiling
|  | SPLT | Horizontal Split Case
|  | SPLY | Supply
|  | SQRE | Square
|  | SRCE | Source
|  | SSWR | Sanitary Sewer
|  | STAG | Stage Lighting
|  | STAN | Stationing
|  | STAT | State
|  | STBY | Standby
|  | STC~ | Steam Coil
|  | STCK | Stack
|  | STRM | Storm Sewer
|  | STRP | Striping
|  | SUBD | Subdivision (Interior) Lines
|  | SUBT | Substractive Elements
|  | SUMP | Sump
|  | SURG | Medical - Surgical Vacuum
|  | SWAY | Spilway
|  | SWBD | Switchboard
|  | SWCH | Switches
|  | SWMT | Storm Water Management
|  | SYST | System Panels
|  | TAKE | Taking Lines
|  | TANK | Storage Tanks
|  | TBOX | Termination Box
|  | TEMP | Temporary
|  | TEST | Test Stations
|  | THER | Thermostats
|  | TIME | Time Clock
|  | TOIL | Toilet Type
|  | TOWR | Tower
|  | TPTN | Toilet Partitions
|  | TRAK | Track
|  | TRAL | Trail Or Path
|  | TRAY | Cabletray And Wireways
|  | TUNL | In Tunnel
|  | UP~~ | Up / Up Lighting
|  | URIN | Urinals
|  | VENT | Vents
|  | VERT | Vertical
|  | WIDE | Wide Lines
|  | WIRE | Wiring
|  | WORK | Work Type
|  | XREF | Transfer
|  | XTRA | Extra
|  | XTRU | Extrusion